1. PURPOSE

The purpose of this procedure is to establish a structured Environmental Management System (EMS) to control, monitor, and continuously improve the environmental performance of the facility.

This Procedure ensures:

- Compliance with applicable local environmental regulations and international standards

- Prevention of environmental pollution

- Efficient use of natural resources such as water and energy

- Responsible chemical management

- Proper management of wastewater, emissions, and waste

- Continuous environmental performance improvement

The EMS is aligned with internationally recognized frameworks such as:

- ISO 14001

- Zero Discharge of Hazardous Chemicals Foundation

- Higg Facility Environmental Module

- Global Organic Textile Standard

2. SCOPE

This SOP applies to all operations and activities within the facility, including:

- Production Processes (spinning, knitting, dyeing and finishing, cutting, printing, sewing…)

- Supporting Operations (Effluent Treatment Plant, Boiler operations, Compressors and utilities, Maintenance workshops, Warehouses and chemical storage areas, Laboratories and quality control departments…)

- The SOP also applies to Employees, Contractors and Suppliers operating within the facility.

3. ENVIRONMENTAL POLICY PRINCIPLES

The facility commits to the following environmental principles:

- Compliance with environmental laws and regulations

- Prevention of environmental pollution

- Efficient resource utilization

- Safe chemical management

- Reduction of greenhouse gas emissions

- Continuous improvement of environmental performance

4. Roles and responsibility

| Position | Responsibilities |
| --- | --- |
| HSE Manager | Implementing and maintaining the Environmental Management System, identifying environmental aspects and impacts, monitoring environmental compliance, preparing environmental performance reports and Coordinating with regulatory authorities |
| Sustainability Officer | Tracking environmental performance indicators, Preparing sustainability reports and Monitoring environmental data and improvement initiatives |
| Chemical Management Team | Chemical approval and evaluation, maintaining chemical inventory, ensuring compliance with MRSL and RSL requirements and reviewing Safety Data Sheets (SDS) |
| ETP Supervisor | Operating the Effluent Treatment Plant, monitoring wastewater quality parameters and maintaining operational records |
| Production Managers | Implementing pollution prevention measures and Optimizing resource consumption in production processes |
| Maintenance Department | Maintenance of environmental control systems, Maintenance of wastewater treatment equipment and Preventive maintenance of utilities |

5. ENVIRONMENTAL ASPECT AND IMPACT ASSESSMENT

Environmental aspects are identified for all activities and evaluated based on severity, frequency, and environmental impact.

Example assessment:

| Activity | Environmental Aspect | Environmental Impact | Risk Level |
| --- | --- | --- | --- |
| Dyeing process | High water consumption | Resource depletion | High |
| Boiler operation | Air emissions | Air pollution | Medium |
| Fabric cutting | Textile waste generation | Increased landfill waste | Low |

The assessment is reviewed annually or when process changes occur.

6. WATER MANAGEMENT PROGRAM

Objectives

- Reduce water consumption ≥20%.

- Achieve reuse rate 65%.

- Daily monitoring and annual water balance.

- Improve water efficiency across operations

Control Measures

- Installation of water meters in all major departments

- Daily monitoring of water consumption

- Monthly analysis of water usage trends

Water Reuse

Treated wastewater will reuse reused for:

- Dyeing and finishing processes

- Cleaning operations

- Cooling systems

- Landscaping and irrigation where applicable

7. CHEMICAL MANAGEMENT SYSTEM

The facility maintains a comprehensive chemical management system aligned with:

- ZDHC MRSL (Zero Discharge of Hazardous Chemicals Foundation).

- GHS (Globally Harmonized System of Classification and Labelling of Chemicals).

- LOT traceability system.

Requirements

- Chemical approval before procurement

- Availability of Safety Data Sheets (SDS) , Technical Data Sheet (TDS) and Approval Certificates

- Proper chemical labeling according to GHS

- Segregated storage of incompatible chemicals

8. WASTEWATER MANAGEMENT

All industrial wastewater generated from production processes is treated in the Effluent Treatment Plant (ETP) before discharge or reuse, operate ETP with full monitoring and Monthly testing and ZDHC Gateway reporting.

Typical Treatment Stages

- Equalization

- pH Neutralization

- Coagulation and Flocculation

- Primary Sedimentation

- Biological Treatment

- Filtration and polishing

Monitoring Parameters

The following parameters are monitored regularly:

- pH

- Chemical Oxygen Demand (COD)

- Biological Oxygen Demand (BOD)

- Total Suspended Solids (TSS)

- Color

Monitoring is conducted according to regulatory and international guidelines.

9. AIR EMISSION CONTROL

Major sources of air emissions include:

- Steam boilers

- Diesel generators

- Thermal processes

Control Measures

- Use of low-sulfur fuels

- Installation of emission control systems where required

- Periodic emission monitoring including (VOCs, CO2, NOx, SOx, PM,….)

- Install stack sampling points.

- Preventive maintenance of combustion equipment.

10. SOLID WASTE MANAGEMENT

Waste Categories

Non-Hazardous Waste

- Fabric scraps

- Cardboard and packaging materials

- Plastic waste

- Food remains waste

- Office waste

- Segregation and safe disposal

Hazardous Waste

- Chemical containers

- Used oils and lubricants

- ETP sludge

- Contaminated materials

- Waste of ink cartridge

- Hazardous waste control.

Waste Management Procedures

- Segregation at the source

- Proper labeling and storage

- Disposal through licensed waste management contractors

11. ENERGY MANAGEMENT

Energy efficiency initiatives include:

- Use of LED lighting systems

- Boiler efficiency improvement programs and condensate recovery.

- Heat recovery systems

- Monitoring of electricity consumption

- Exploration of renewable energy opportunities

12. ENVIRONMENTAL EMERGENCY RESPONSE

Potential environmental emergencies include:

- Chemical spills

- Wastewater leakage

- Fire involving chemicals

Emergency Procedures

- Immediate containment of the spill

- Isolation of affected area

- Notification of the Environmental Manager

- Incident investigation and corrective actions

13. TRAINING AND AWARENESS

Environmental training programs include:

- Chemical safety awareness

- Spill response training

- Waste segregation practices

- Environmental responsibility awareness

Training is conducted:

- During employee induction

- Annually or as required

14. ENVIRONMENTAL PERFORMANCE MONITORING

Key Environmental Performance Indicators (KPIs):

| Indicator | Unit |
| --- | --- |
| Water consumption | m³ per ton of fabric |
| Energy consumption | kWh per kg production |
| Water reuse rate | % |
| Waste generation | kg per month |

Performance is reviewed monthly.

15. INTERNAL ENVIRONMENTAL AUDITS

Internal environmental audits are conducted:

- Monitoring will be conducted at least on a quarterly basis, or monthly where required based on operational needs.

Audit scope includes:

- Compliance with environmental procedures

- Chemical management practices

- Wastewater treatment performance

- Waste management practices

16. MANAGEMENT REVIEW

Senior management reviews the EMS performance simi annually including:

- Audit results

- Environmental performance indicators

- Compliance status

- Opportunities for improvement

17. DOCUMENT CONTROL

All environmental documents must be:

- Controlled and approved

- Properly numbered and versioned

- Stored securely

- Accessible to relevant personnel

Environmental Manager: __________________

Plant Manager: __________________

General Manager: __________________

Date: __________________