1. PURPOSE

To establish a comprehensive, controlled, and auditable system for managing lint (fibrous dust) to:

- Preventing accumulation and airborne dispersion

- Eliminate fire and explosion risks

- Maintain product quality and prevent contamination

- Control both hazardous and non-hazardous lint streams

- Ensure compliance with global brand requirements and environmental standards

- Operate effectively without centralized extraction systems

2. SCOPE

This procedure applies to all lint-generating operations:

2.1 Production Areas

- Spinning (Blow room, Carding, Drawing, Ring/Compact)

- Knitting

- Dyeing & Finishing

- Printing

- Cutting

- Sewing

2.2 Supporting Areas

- Fabric storage & warehouses

- Packing sections

- Maintenance workshops

- Utility areas (boilers, compressors)

3. COMPLIANCE FRAMEWORK

This procedure complies with:

- Higg Facility Environmental Module (Waste, housekeeping, risk control)

- Inditex – GTW (Fire Safety & Housekeeping)

- Next plc Audit Protocol

- Kontoor Brands Standards

- Levi Strauss & Co. EHS Guidelines

- ISO 14001 Environmental Management System

- Local fire and occupational safety regulations

4. DEFINITIONS

4.1 Lint (Fluff)

Fine fibrous airborne or settled particles generated during textile processes.

4.2 Non-Hazardous Lint

- Clean cotton or polyester lint

- Generated from spinning, knitting, cutting

4.3 Hazardous Lint

Lint contaminated with:

- Dyes, chemicals, or auxiliaries

- Printing inks or solvents

- Oils, grease, or lubricants

5. RISK ASSESSMENT & CLASSIFICATION

5.1 Area-Based Risk Matrix

| Area | Risk Level | Source | Fire Risk | Cleaning Frequency |
| --- | --- | --- | --- | --- |
| Spinning | Very High | Fiber dust | Very High | Every 2 hrs |
| Knitting | High | Yarn lint | High | Every 2–4 hrs |
| Cutting | High | Fabric dust | High | Every shift |
| Sewing | Medium | Thread lint | Medium | Daily |
| Dyeing/Finishing | Medium | Contaminated lint | Medium | Daily |
| Warehouse | Low | Settled lint | Low | Daily |

5.2 Risk Factors

- Accumulation near heat sources

- Airborne dispersion

- Chemical contamination

- Poor housekeeping

6. ROLES & RESPONSIBILITIES

| Position | Detailed Responsibilities |
| --- | --- |
| EHS Manager | Develop system, KPI monitoring, audit readiness, risk assessment |
| Production Manager | Control lint at source, enforce compliance |
| Maintenance | Prevent lint buildup inside machines, ensure sealing |
| Housekeeping Supervisor | Implement cleaning schedules, verify execution |
| Operators | Immediate cleaning at source, reporting |
| Warehouse Team | Control storage and segregation |

7. LINT CLASSIFICATION & SEGREGATION SYSTEM

7.1 Classification

| Category | Source | Handling Method |
| --- | --- | --- |
| Non-Hazardous | Spinning, knitting, cutting | Reuse / recycle |
| Hazardous | Dyeing, printing, oily areas | Controlled disposal |

7.2 Container Standards

- Fire-resistant, closed containers

- Clearly labeled:

  - Waste type

  - Hazard level

  - Source

  - Date

- Color coding:

  - Gray → Non-hazardous

  - Dark Red → Hazardous

8. CONTROL STRATEGY (WITHOUT EXTRACTION SYSTEM)

8.1 Engineering Controls

- Industrial vacuum cleaners (HEPA recommended)

- Machine enclosures and covers

- Local lint traps

- Anti-static measures

- Controlled compressed air systems

8.2 Administrative Controls (CRITICAL)

- Strict cleaning schedules

- Defined accountability per area

- Supervisory verification

- KPI-driven monitoring

9. OPERATIONAL CONTROL PROCEDURE

9.1 Cleaning Schedule (MANDATORY)

| Area | Method | Frequency | Responsible |
| --- | --- | --- | --- |
| Machines | Vacuum | Every 2–4 hrs | Operator |
| Floors | Vacuum | Every shift | Housekeeping |
| Elevated/Hidden Areas | Deep cleaning | Daily | Housekeeping |
| Electrical Panels | Inspection & cleaning | Daily | Maintenance |

9.2 Cleaning Methods

✔ Approved

- Industrial vacuum cleaning (primary method)

⚠ Restricted

- Compressed air (only in controlled zones with supervision)

❌ Prohibited

- Dry sweeping

- Air blowing without containment

9.3 Lint Collection Process

- Collect lint immediately after cleaning

- Transfer into labeled containers

- Ensure containers remain closed

- No temporary accumulation allowed

9.4 Storage Requirements

- Separate hazardous/non-hazardous

- Away from:

  - Heat sources

  - Electrical systems

- Daily removal from production

9.5 Disposal & Recycling

Non-Hazardous:

- Recycle (preferred)

- Textile reuse

Hazardous:

- Dispose via licensed contractor

- Maintain manifests and traceability

10. FIRE & EXPLOSION RISK CONTROL

- Zero lint near ignition sources

- Maintain clear zones around:

  - Electrical panels

  - Motors

  - Boilers

- Daily inspection checklist

- Firefighting equipment accessible

- Emergency drills conducted

11. MONITORING & KPI SYSTEM

| KPI | Target | Method |
| --- | --- | --- |
| Visible lint | Zero | Inspection |
| Cleaning compliance | 100% | Logs |
| Segregation compliance | 100% | Audit |
| Fire incidents | Zero | Incident tracking |

12. DOCUMENTATION (AUDIT REQUIREMENT)

12.1 Cleaning Log

- Frequency-based

- Signed by responsible person

12.2 Inspection Reports

- Daily supervisor verification

12.3 Waste Records

- Quantity

- Type

- Disposal method

- Contractor

12.4 Training Records

- Attendance

- Topics

- Evaluation

13. INTERNAL AUDIT SYSTEM

Checklist Includes:

- No visible lint

- Proper segregation

- Labeling compliance

- Closed containers

- Electrical safety

14. TRAINING PROGRAM

- Induction training

- Annual refresher

- Fire risk awareness

- Chemical contamination awareness

15. NON-CONFORMITY MANAGEMENT

- Immediate correction

- Root cause analysis (RCA)

- Corrective action plan (CAPA)

- Follow-up verification

16. CONTINUOUS IMPROVEMENT

- Reduce lint generation at source:

  - Improve fiber quality (spinning)

  - Optimize machine settings

- Improve housekeeping efficiency

- Evaluate future engineering solutions

17. CRITICAL AUDIT POINTS

Auditors Will Focus On:

- Lint accumulation (especially spinning & knitting)

- Electrical panel cleanliness

- Hazardous lint segregation

- Cleaning records consistency

18. APPROVAL

Sustainability Manager: __________
Plant Manager: __________
General Manager: __________
Date: __________