1.1 Purpose

The purpose of this procedure is to ensure that systems are in place to control hazards before commencement of any changes during the project activities. These changes include plant, machinery, processes which are designed, developed, modified, hired, purchased or changed. This is also applicable to changes in the job or department of person. Changes can have an impact on the areas of personnel safety, occupational health & safety, and environment safety and hence the purpose of this procedure is to manage these changes to take care of any issues, which may arise due to the same.

  - Reference Documents

| EMS/OHS/MAU | OHS Manual |
| --- | --- |

  - Responsibility

| Cross Functional Team | Review the Change as per the functional requirement |
| --- | --- |
| Head of Engineering, Project Manager, Site Engineer, Admin Managers/OHS Managers/Executives | Implementation of Procedure |
| Managers Administration/HR | training of personnel in all aspects before he/she takes over any new job in a new department. |

  - Process

    - The procedure covers

                - New construction projects/ civil structures, major changes to existing civil structures

                - Purchase machinery or equipment

                - Change of Job or department of a person

    - Cross Functional Team

- This Procedure is designed and developed by a cross functional team consisting the following functions and the procedure is approved by the Director Projects and issued /revised by Manager Health and Safety.

- Legal

- PMO

- Engineering

- Operations

- Occupational Health & Safety (OHS)

- Administration

- Supply Chain

- Finance

- A technical committee consisting of above personnel, Subject Matter Expert (SME) from the functions mentioned above to be part of the change management process. The technical committee to be approved by the Director and plant Project Manager for the projects initiated by management.

    - Process

      - New construction projects/civil structures, Major changes to existing civil structures

- Project Manager to submit the change management request note , EMS – OHS-FXX.

- Project Manager is responsible to call for representatives for the tech committee and chair same

- SME to submit inputs from their areas of expertise and record in change management request note (EMS – OHS-FXX.)

- Engineering to prepare council drawings as per the inputs given by the SMEs

- The council drawings to be signed off by the technical committee

- Engineering to prepare the detailed drawings and technical specifications/standards and legal requirements as per the inputs given by the SMEs

- PM to organize a review meeting with OHS, Environmental and Compliance to review the drawings and technical specifications/standards

- PM to submit the detailed drawings, technical specifications, cost estimates along with the change management request note (EMS – OHS-FXX.)

- Obtain CAPEX approval

- Award contracts and sign agreement which also contains OHS requirements/inputs

- Contractor/Sub contractor to submit the project plan and method statements prior to commencement of each phase

- OHS Manager to review the method statements

- Contractor to appoint a dedicated OHS lead for the project and the lead to remain until completion of the project

- OHS lead of the contractor to conduct the Risk Assessments and EMS,  OHSM to carry out period checks as per the complexity of the project to ensure that the contractor abides by the EMS, OHS guidelines specified in the agreement.

- In the absence of the OHS at project site the Project Manager or a person nominated by him to be responsible for OHS.

- SME inputs to be checked during the testing and commissioning (sign off)

Flow Chart 1: New construction projects/civil structures, Major changes to existing civil structures

1.4.3.2 Purchase machinery or equipment

- Project Manager /Engineer to raise the Proof of Concept (POC) to purchase machinery or equipment.

- Engineering to organize a review meeting with OHS, Environmental and Compliance once finalize the concept or the machine identification as per the Project requirements.

- Detailed drawings will be submitted along, technical specifications, cost estimates along with the POC.  The same to be uploaded to the CAPEX system

- Obtain CAPEX approval

- OHS lead/Engineer of the Supplier to conduct the Risk Assessments and Brandix OHS to carry out period checks as per the complexity of the project to ensure that the Supplier abides by the Brandix OHS guidelines

- Supplier to conduct competency training for nominated technicians, operators

- Obtain CAPEX approval

- OHS lead to conduct the Risk Assessments and to carry out period checks to ensure that the supplier abides by the OHS guidelines specified in the agreement/MOU

- SME inputs to be checked during the testing and commissioning (sign off)

1.4.3.3 Change of Job or department of a person

- Submit change management request note to Administration Manager

- Admin Manager to obtain inputs from relevant SMEs including legal and compliance requirements.

- Preparation of change of job role by the incoming department/section.

- Accept/reject for the new job role.

- Transfer to the new designation

- Induction to be given to him/her in a new role

1.5 Records

|  | Record Description | Record Location/ Retention Responsibility | Minimum Retention Time |
| --- | --- | --- | --- |
|  | Management of Change Request Note | MR | Revise and maintain |
|  | Legal Compliances | MR | Revise and maintain |
|  | CAPEX Approval Form | MR | Revise and maintain |