1.1 Purpose

This process describes the preparedness and response procedures for potential accidents and emergency situations that give rise to significant environmental impacts.

  - Reference Documents

| EMS/OHS/MAU | OHS Manual |
| --- | --- |

  - Responsibility

| MR | - MR is responsible for the preparation of emergency preparedness plan together with the health and safety plan to minimize the likelihood of accidents and emergency situations. - MR review the suitability and effectiveness of the emergency procedures after each accident or emergency situation. - MR ensure that all staff and other people who work on site are aware of and familiar with the requirements of the emergency procedures. - MR arrange appropriate drills at various areas and ensure that the requirements of the emergency procedures are communicated to all staff and are implemented. - In case of emergency situations in the facility, the MR be informed and review the accident reports and remediation works taken by responsible staff. |
| --- | --- |

  - Process

- MR identify occupational health and safety emergency situations, proactive steps to prevent emergency incidents and complete tasks in preparation for emergencies.

- MR coordinate the preparation and maintenance of an Emergency Response Plan that contains all emergency procedures. This will be done together with the health and safety emergency response process and the areas to be merged will be considered in preparation.

- MR familiarize and train their staff and Emergency Team members on the procedures described in the Emergency Response Plan (EMS  OHS R11) this will be accomplished in accordance with Competence, Training & Awareness Procedure (EMS OHS P05).

- The involved staff shall identify the root causes and any preventive actions, report the accident by completing an Occupational Health and Safety  Accident Report (EMS OHS R12) after each accident or emergency situation and submit the completed form to the MR to review by each division.

- MR review the suitability, adequacy and effectiveness of the emergency plan after each accident or emergency situation and revise the emergency plan as necessary.

- MR maintain documentation on emergency response and preparedness, and emergency incidents for at least 3 years.

KEEP IT CLEAN

Waste and rubber is a breeding ground for fire. Process waste and general refuse should not be allowed to accumulate. Oily rags are easily ignited and may even ignite spontaneously. Most packing materials when loose can ignite easily and a fire will spread through them very rapidly.

WATCH THAT STORE

More big fire starts in storage areas than in production areas. Badly stored goods may help to spread fire or render useless operation of sprinkler heads. Goods tidily stacked with wide gangways may help to check the growth of fire.

IT WONT RUN FOR EVER.

Inadequately maintained machines are liable to cause fires. The overheating of bearings due to insufficient lubrication or to the presence of dust, and heat caused by friction are common causes of fire. Frequent inspection and regular maintenance are the remedy. Good layout of machinery will lessen the risk and make the general tidiness of the premises easier to maintain.

FLAMMABLE LIQUIDS - BEWARE.

Dangerous chemicals and explosives present problems of their own, but stocks of paint, lacquer, flammable solvent and thinner, a common feature of all industrial premises are a less obvious hazard. Negligence in handling small quantities of flammable liquids is a frequent cause of fires and injuries.

HEATING AND LIGHTING DANGERS.

Heating and lighting systems that are inefficiently maintained and inadequately safeguarded present risks. Many fires result from electrical faults or misuse.

UPDATE & COMMUNICATION RESPONSIBILITY

Clear communication will make the situation easier and lesser the risk.

- Two Fire Team Members should be appointed as Leader and his deputy for each shift for carrying out fire duties.

- Display board of the “Fire Member Information” should be updated by the appointed team Leader

- Team Leader should be maintained log entries during his shift and should be discussed the issues with other fire team members for 10 minutes prior to start each shift with referring log entries of previous shift.

- General Manger compliance  should be communicated by appointed team leader in a situation of emergency or once after duty taking over in a factory shut down day.

- Appointed Team Leader and other members who work on duty of a particular shift is responsible for the duties specified in Annex1 Part VI.

WHEN WORK CEASES.

Checks are made to ensure.

- Electric gas and oil equipment not required to operate overnight is switched off.

- Equipment in overnight use is safe.

- Computers, copy machines and other equipment having flexible cables, are unplugged.

- Windows are closed, outside doors locked and the premises are secure against intruders.

PLANING FOR EMERGENCY

MODEL  FIRE DRILL INSTRUCTIONS

The following instructions only will need to be adapted according to circumstances.

Instructions to all staff on discovering fire;

- Raise the alarm by reporting immediately to the manual call point.

- Call for assistance from fire team and attack the fire with the fire-extinguishing equipment provided which is suitable for the fire class.

On hearing the fire alarm of an out break of fire;

- Leave the premises and report immediately to the assembling area, or Join the fire party if you are a member.

- Do not stop to collect personal belongings unless it is obvious that there is clear escape to the out side.

- Instruction to water treatment plant operator.

- Close all the flood control gates as per Emergency Response Plans.

Instructions to the switched board operator;

- Emergency switchboard keys to be kept by the operator so he can refer to them instantly.

- On being notified of an outbreak of fire.

- Call the brigade immediately by dialing 034-2222466 (Kalutara), 038- (Horana) he appropriate number or break the glass of the red alert signal point if available.

- Notify a senior member of the staff.

- Warn other departments and other offices in the building that fire has broken out.

- When instructed, sound the fire alarm or pass on the order to evacuate the premises.

ACTION BY MANAGEMENT

On been notified of an outbreak of fire a senior member of staff should;

- Ensure that the fire brigade has bean called.

- Pending the arrivals of the fire brigade, go to the source  of the fire and supervise the fire fighting.

- Clear out every one, except those actually engaged in the fire fighting, from the immediate vicinity of the fire.

- Order the evacuation of the building as soon as it becomes apparent that fire or smoke is spreading. Do not wait until the fire is out of control.

- Take a roll call of staff when the premises have been evacuated. A list of absentees from the building should be available. This should normally be done by the head of each department.

- Instruction should be given to caretakers (first-aiders) and maintenance staff and contractors setting out the action they should take in the event of fire. It is to include shutting down all services not essential to the escape of occupants or likely to be required by the fire brigade.

- Lighting should be left on in emergencies.

BEFORE A FIRE.

Followings are to be maintain properly.

- Drainage -Sewers gullies.

- Floors - Impervious to water, pills and ramps.

- Smoke - Ventilation, smoke stop doors extractions.

DURING A FIRE

Use following technic by fire team.

- Covering contents with water proof sheets.

- Damming and removal of water.

- Use of drains or manholes.

- Protecting adjacent and adjoining property.

- Prevention of sundry damage - Carpets, Burst, Pipes, Sprinklers, Collapsed stocks.

- Make sure contamination water should not entered to the water body except company lagoon.

AFTER A FIRE

Make sure followings are done.

- Drying the Premises.

- Prevention of deterioration of contents.

- Protections from inclement weather.

- Take water samples from the lagoon and test the contamination level. Do necessary treatment if levels byond the level.