1. OBJECTIVE

This Spill and Emergency Response Plan (SERP) outlines the procedures for managing chemical spills safely at the Eroglu Knitting (EMS) factory, minimizing risks to employees, property and the environment.

2. SCOPE

This plan applies to all areas of the factory where chemicals are stored, handled or used, including maintenance, production, laundry and cleaning operations.

3. RESPONSIBILITIES

• Factory Manager: Oversees SERP implementation. Ensures resources and training are provided.

• EHS/Safety Officer: Develops and maintains the SERP. Leads emergency response activities. Trains staff.

• Supervisors/Line Managers: Enforce chemical handling procedures. Initiate emergency response steps.

• Employees/Workers: Follow spill response procedures. Report spills promptly. Assist safely.

• Spill Response Team (SRT): Executes containment and cleanup operations. Uses appropriate PPE and equipment.

4. POTENTIAL CHEMICAL HAZARDS AT EROGLU KNITTING (EMS)

For each chemical listed below, no health and safety hazard was identified ("Not found"). Environmental hazard: the product is poorly biodegradable and must not be drained directly into watercourses or the soil.

• AC 780 N.B. TRANSPARENT: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• AC 790 N.B WHITE: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• PU 110 W.B.- COATING GREY: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• PU 304 W.B. FIXING AGENT: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• PU 317 W.B.-ANTI-FOIL PASTE: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• PU 328 CRACKING PASTE TRANSPARENT: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• PU 334 W.B. GLITTER PASTE: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• PU 336 W.B. TRANSFOIL PASTE: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• PU 348 CRACKING PASTE WHITE: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• PU 360 PEARL PASTE: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• PU 380 W.B. - PUFF: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• PU 410 W.B. TRANSPARENT: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• PU 420 W.B.- WHITE: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• PU 451 REGULATOR AND RETARDANT: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• PU 473 P.T.F. THICKENER: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• PU 905 W.B. TABLE ADHESIVE: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• METALLIC GOLD: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• METALLIC SILVER: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 255 REGULATOR: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 260 TRANSPARENT: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 261 HIGH DENSITY TRANSPARENT: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 265 SNOW WHITE: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 269 BLACK: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 350 BROWN: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 370 LEMON YELLOW: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 371 GOLD YELLOW: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 372 ORANGE: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 373 RED: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 374 CARMINE RED: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 375 FUCHSIA: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 376 GREEN: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 377 BLUE: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 378 NAVY BLUE: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 379 VIOLET: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 381 TURQUOISE BLUE: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 480 PUFF: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 482 CMYK MAGENTA: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

• MR 483 CMYK YELLOW: Health & Safety Hazards: Not found; Environmental Hazard: Poorly biodegradable, not to be drained directly into watercourses or the soil.

5. SPILL PREVENTION MEASURES

• Proper labeling of all chemical containers.

• Use of secondary containment such as trays and bunds.

• Regular inspections of storage areas.

• Storage away from drains and sensitive areas.

• Accessible and up-to-date Safety Data Sheets (SDS).

• Routine staff training in safe chemical handling.

6. SPILL RESPONSE PROCEDURES

6.1 Initial Response

• Alert: Notify all nearby personnel immediately.

• Evacuate: Clear the area if needed, especially for large or hazardous spills.

• Assess: Determine the type and size of the spill using the SDS.

6.2 Containment Steps

• Use absorbent socks or booms to prevent spreading.

• Protect drains with covers or barriers.

• Stop the leak if it is safe to do so (e.g. set containers upright, close valves).

6.3 Cleanup Procedures

• Minor Spill (small, low risk): Handled by trained employees. Use absorbents and neutralizers. Wear proper PPE.

• Moderate Spill: Managed by the Spill Response Team. Use the full spill kit and containment methods.

• Major Spill (flammable, toxic, large): Evacuate the area. Call emergency services. Wait for specialists to respond.

• Clean surfaces after absorbing the spill.

• Place contaminated materials into hazardous waste containers.

6.4 Disposal

• Label and store spill waste in the hazardous waste storage area.

• Coordinate with licensed waste disposal contractors for removal.

7. PERSONAL PROTECTIVE EQUIPMENT (PPE)

• Chemical-resistant gloves.

• Safety goggles or face shields.

• Protective aprons or suits.

• Respirators (if vapors or fumes are present).

• Safety boots.

8. EMERGENCY CONTACT LIST

• Factory Emergency Response Team: ________

• Fire Department: ________

• Medical/First Aid: ________

• Hazardous Waste Disposal Company: ________

9. TRAINING AND DRILLS

• All staff receive spill response training annually.

• Quarterly emergency drills are conducted for the Spill Response Team.

• Training includes the correct use of spill kits and PPE.

10. SPILL KIT CONTENTS

• Absorbent pads, socks and pillows.

• Drain covers.

• Neutralizing agents (for acids and alkalis).

• Disposal bags/containers.

• PPE (gloves, goggles, aprons).

• Instruction manual for spill response.

11. POST-INCIDENT ACTIONS

• Complete an Incident Report Form.

• Investigate the cause and recommend corrective measures.

• Update the SERP if necessary.

• Review lessons learned with all relevant staff.

12. REVIEW AND UPDATE

This plan will be reviewed annually or after any major spill incident.

1. الهدف

توضح خطة الاستجابة للانسكابات والطوارئ (SERP) هذه إجراءات التعامل الآمن مع انسكابات المواد الكيميائية في مصنع إيروغلو للتريكو (EMS)، بما يقلل المخاطر على العاملين والممتلكات والبيئة.

2. النطاق

تنطبق هذه الخطة على جميع مناطق المصنع التي يتم فيها تخزين المواد الكيميائية أو تداولها أو استخدامها، بما في ذلك عمليات الصيانة والإنتاج والغسيل والتنظيف.

3. المسؤوليات

• مدير المصنع: الإشراف على تنفيذ خطة الاستجابة للانسكابات والطوارئ، وضمان توفير الموارد والتدريب.

• مسؤول البيئة والصحة والسلامة: إعداد الخطة وتحديثها، وقيادة أنشطة الاستجابة للطوارئ، وتدريب العاملين.

• المشرفون/مديرو الخطوط: إلزام العاملين بإجراءات تداول المواد الكيميائية، والبدء بخطوات الاستجابة للطوارئ.

• الموظفون/العمال: اتباع إجراءات الاستجابة للانسكابات، والإبلاغ عن الانسكابات فورًا، والمساعدة بشكل آمن.

• فريق الاستجابة للانسكابات (SRT): تنفيذ عمليات الاحتواء والتنظيف، واستخدام معدات الحماية الشخصية والمعدات المناسبة.

4. المخاطر الكيميائية المحتملة في إيروغلو للتريكو (EMS)

بالنسبة لكل مادة كيميائية مدرجة أدناه، لم يتم تحديد أي مخاطر على الصحة والسلامة ("غير موجود"). الخطر البيئي: المنتج ضعيف القابلية للتحلل الحيوي، ويجب عدم تصريفه مباشرة في المجاري المائية أو التربة.

• AC 780 N.B. TRANSPARENT: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• AC 790 N.B WHITE: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• PU 110 W.B.- COATING GREY: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• PU 304 W.B. FIXING AGENT: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• PU 317 W.B.-ANTI-FOIL PASTE: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• PU 328 CRACKING PASTE TRANSPARENT: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• PU 334 W.B. GLITTER PASTE: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• PU 336 W.B. TRANSFOIL PASTE: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• PU 348 CRACKING PASTE WHITE: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• PU 360 PEARL PASTE: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• PU 380 W.B. - PUFF: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• PU 410 W.B. TRANSPARENT: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• PU 420 W.B.- WHITE: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• PU 451 REGULATOR AND RETARDANT: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• PU 473 P.T.F. THICKENER: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• PU 905 W.B. TABLE ADHESIVE: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• METALLIC GOLD: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• METALLIC SILVER: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 255 REGULATOR: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 260 TRANSPARENT: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 261 HIGH DENSITY TRANSPARENT: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 265 SNOW WHITE: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 269 BLACK: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 350 BROWN: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 370 LEMON YELLOW: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 371 GOLD YELLOW: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 372 ORANGE: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 373 RED: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 374 CARMINE RED: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 375 FUCHSIA: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 376 GREEN: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 377 BLUE: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 378 NAVY BLUE: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 379 VIOLET: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 381 TURQUOISE BLUE: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 480 PUFF: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 482 CMYK MAGENTA: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

• MR 483 CMYK YELLOW: المخاطر على الصحة والسلامة: غير موجودة؛ الخطر البيئي: ضعيف القابلية للتحلل الحيوي، ولا يُصرَّف مباشرة في المجاري المائية أو التربة.

5. تدابير منع الانسكاب

• وضع بطاقات تعريف مناسبة على جميع حاويات المواد الكيميائية.

• استخدام وسائل الاحتواء الثانوي مثل الصواني والأحواض الحاجزة.

• إجراء فحوصات منتظمة لمناطق التخزين.

• التخزين بعيدًا عن المصارف والمناطق الحساسة.

• توفير صحائف بيانات السلامة (SDS) محدثة وسهلة الوصول.

• تدريب العاملين بشكل دوري على التداول الآمن للمواد الكيميائية.

6. إجراءات الاستجابة للانسكاب

6.1 الاستجابة الأولية

• التنبيه: إخطار جميع العاملين القريبين فورًا.

• الإخلاء: إخلاء المنطقة عند الحاجة، خاصة في حالة الانسكابات الكبيرة أو الخطرة.

• التقييم: تحديد نوع الانسكاب وحجمه باستخدام صحيفة بيانات السلامة (SDS).

6.2 خطوات الاحتواء

• استخدام الجوارب أو الحواجز الماصة لمنع الانتشار.

• حماية المصارف بالأغطية أو الحواجز.

• إيقاف التسرب إذا كان ذلك آمنًا (مثل إعادة الحاويات إلى وضعها القائم، وإغلاق الصمامات).

6.3 إجراءات التنظيف

• الانسكاب البسيط (صغير، منخفض الخطورة): يتعامل معه العاملون المدربون باستخدام المواد الماصة والمعادِلة مع ارتداء معدات الحماية الشخصية المناسبة.

• الانسكاب المتوسط: يتولاه فريق الاستجابة للانسكابات باستخدام عدة الانسكاب الكاملة وأساليب الاحتواء.

• الانسكاب الكبير (قابل للاشتعال، سام، كبير الحجم): إخلاء المنطقة، والاتصال بخدمات الطوارئ، وانتظار استجابة المتخصصين.

• تنظيف الأسطح بعد امتصاص المادة المنسكبة.

• وضع المواد الملوثة في حاويات النفايات الخطرة.

6.4 التخلص

• وضع بطاقات تعريف على نفايات الانسكاب وتخزينها في منطقة تخزين النفايات الخطرة.

• التنسيق مع مقاولي التخلص من النفايات المرخصين لنقلها.

7. معدات الحماية الشخصية (PPE)

• قفازات مقاومة للمواد الكيميائية.

• نظارات أمان أو واقيات للوجه.

• مرايل أو بدلات واقية.

• أجهزة تنفس (في حال وجود أبخرة أو أدخنة).

• أحذية أمان.

8. قائمة أرقام الطوارئ

• فريق الاستجابة للطوارئ بالمصنع: ________

• الإطفاء: ________

• الخدمات الطبية/الإسعافات الأولية: ________

• شركة التخلص من النفايات الخطرة: ________

9. التدريب والتمارين

• يتلقى جميع العاملين تدريبًا على الاستجابة للانسكابات سنويًا.

• تُجرى تمارين طوارئ ربع سنوية لفريق الاستجابة للانسكابات.

• يشمل التدريب الاستخدام الصحيح لعدد الانسكاب ومعدات الحماية الشخصية.

10. محتويات عدة الانسكاب

• وسائد وجوارب ومخدات ماصة.

• أغطية المصارف.

• مواد معادِلة (للأحماض والقلويات).

• أكياس/حاويات التخلص.

• معدات الحماية الشخصية (قفازات، نظارات، مرايل).

• دليل تعليمات الاستجابة للانسكاب.

11. الإجراءات بعد الحادث

• استكمال نموذج تقرير الحادث.

• التحقيق في السبب والتوصية بالإجراءات التصحيحية.

• تحديث خطة الاستجابة للانسكابات والطوارئ عند الضرورة.

• مراجعة الدروس المستفادة مع جميع العاملين المعنيين.

12. المراجعة والتحديث

تتم مراجعة هذه الخطة سنويًا أو بعد أي حادث انسكاب كبير.

ONAYLAYANLAR:

| Strateji ve Süreç Geliştirme Müdürü BAHAR YILDIRIM |  | İnsan Kaynakları Grup Müdürü ALİ KAAN GENÇ |  | Kalite Güvence Müdürü ABDULLAH BAYDOĞAN |  | EMS Genel Müdürü FATİH SALBARS |
| --- | --- | --- | --- | --- | --- | --- |